E-WATERTEST.COM

33 Third Street, Suite 102

Bordentown, NJ  08505

Laboratory - 609-291-9072

Dear E-WaterTest Client;

Enclosed please find your comprehensive Priority Water Test report.

We have prepared the report with the consumer in mind, taking special care to provide an informative, yet simple to understand format. If you would like a printed copy of the report, please select the print option on your internet browser window.

The USEPA has designated a “Limit” or “Maximum Contaminant Level” for most parameters included in the Priority Water Test. However, there are some parameters, particularly in the VOC category, that have not as yet been assigned “MCL’s”. If a parameter has an “MCL”, it will be shown in the column immediately to the right of that parameter.

If you have any additional questions concerning your report, you can visit the website, or you can e-mail me directly at the e-mail address listed below.

Please remember that the Priority Water Test is intended to be for personal informational purposes only and not intended to be used for legal or regulatory compliance matters.  If a primary parameter located in the VOC, PCB or Pesticide section exceeds the USEPA limit, you may wish to retest the source at a local certified laboratory to confirm its presence.

We hope that you have found the Priority Water Test to be helpful in determining the quality of your drinking and bathing water and hope that we can be of service to many of your family and friends.

Thank You again for your trust in using E-WATERTEST.COM.

DB Lilley

President/CEO

support@e-watertest.com

E-WATERTEST.COM

www.e-watertest.com

609-291-9072

Roger Gruben

150 Jordan Lane

Kilmarnock, VA 22482

Date Collected:    7-8-14

Matrix: Water

Source: Well

Collected by: Owner

EWT Sample #: EL-6056-0708-14

______________________________________________________________________

Primary			MCL(mg/L)			Result(mg/L)

Parameter

______________________________________________________________________

Iron				0.30				   0.33

Manganese			0.05				 <0.01

Lead				0.010				 <0.001

Mercury			0.002				 <0.0002

Sodium			50.0			           267.54

Arsenic			0.010			             <0.001

pH				6.5-8.5			               8.62

Nitrate			10.0			             <0.30

Hardness (CaCO3)		250.0                                        <2.00

______________________________________________________________________

All testing performed using USEPA testing methods

MCL = Maximum Contaminant Level    > = greater than     < = less than

mg/L = ppm (parts per million)

Remarks:  Parameters highlighted in bold type are above the standards or recommended levels established by the USEPA for potable water.

Note: Actual pH measurement may be slightly lower or higher than result reported

due to transit time of sample or the use of a Reverse Osmosis (RO) filter unit.

Report Date:	August 7, 2014				By: Thomas Mullen

Laboratory Director

Page 1-1

E-WATERTEST.COM

www.e-watertest.com

609-291-9072

RE: EL-6056-0708-14

Secondary				MCL(mg/L)		Result(mg/L)

Parameter

Sulfate				250.0		            12.00

Total Dissolved Solids		500.0	                      679.00

Color				              15.0			<1.00 cu

Turbidity				  - - -			<1.00

Alkalinity				  - - -		          375.00

Fluoride				    4.0			  4.26

Conductivity			              - - -		        1014.00

Chromium				  0.10			<0.05

Copper				  1.30		            <0.05

Potassium				  - - -		            65.60

Nickel					  - - -		            <0.05

MCL = Maximum Contaminant Level    > = Greater Than     < = Less Than

mg/L = ppm (parts per million)   CU = Color Units

Remarks: Parameters highlighted in bold type are above the standards established by the USEPA for potable water.

Note: Report is intended to be used for informational purposes only and should not

be used for regulatory and/or legal purposes.

Report Date:	August 7, 2014				By: Thomas Mullen

Laboratory Director

Page 1-2

RE: EL-6056-0708-14

E-WATERTEST.COM

www.e-watertest.com

609-291-9072

Parameter/Method			MCL		MDL		Result

VOC/EPA 524.2			(ug/L)		(ug/L)		(ug/L)

______________________________________________________________________

Acetone						0.500		nd

Acrylontrile						0.500		nd

Allyl Chloride						0.500		nd

2-Butanone						0.500		nd

Carbon Disulfide					0.500		nd

Chloroacetontrile					0.500		nd

Trans-1,2-Dichloroethene				0.500		nd

1,1-Dichloropropanone				0.500		nd

Diethylether						0.500		nd

Ethyl Methacrylate					0.500		nd

Hexachloroethane					0.500		nd

2-Hexanone						0.500		nd

Methacrylonitrile					0.500		nd

Methylacrylate						0.500		nd

Methyliodide						0.500		nd

Methylmethacrylate					0.500		nd

4-Methyl-2-Pentanone				0.500		nd

Nitrobenzene						0.500		nd

2-Nitropropane					0.500		nd

Pentachloroethane					0.500		nd

Propionitrile						0.500		nd

1-Chlorobutane					0.500		nd

Dichloroflouromethane				0.500		nd

Chloromethane					0.500		nd

Vinyl Chloride		 	     2		0.500		nd

Bromomethane					0.500		nd

Chloroethane						0.500		nd

Tetrahydrofuran					0.500		nd

Trichlorofluoromethane				0.500		nd

1,1 Dichloroethene			      2		0.500		nd

Methylene Chloride			      3		0.500		nd

Trans-1,2-Dichloroethene		  100		0.500		nd

1,1 Dichloroethane			    50		0.500		nd

2,2 Dichloropropane					0.500		nd

______________________________________________________________________

Page 2-1

Parameter/Method			MCL		MDL		Result

VOC/EPA 524.2			(ug/L)		(ug/L)		(ug/L)

______________________________________________________________________

Cis-1,2 Dichloroethene		    70		0.500		nd

Chloroform						0.500		nd

Bromochloromethane					0.500		nd

1,1,1 Trichloroethane			    30		0.500		nd

1,1 Dichloropropene					0.500		nd

Carbon Tetrachloride			      2		0.500		nd

Benzene				      1		0.500		nd

1,2 Dichloroethane			      2		0.500		nd

Trichloroethene			      1		0.500		nd

1,2 Dichloropropane			      5		0.500		nd

Bromodichloromethane				0.500		nd

Dibromomethane					0.500		nd

Cis-1,3 Dichloropropene				0.500		nd

Toluene				1000		0.500		nd

Trans-1,3 Dichloropropene				0.500		nd

1,1,2 Trichloroethane			      3		0.500		nd

Tetrachloroethene			      1		0.500		nd

1,3 Dichloropropane					0.500		nd

Dibromochloromethane				0.500		nd

1,2 Dibromomethane					0.500		nd

Chlorobenzene		  	  50		0.500		nd

Ethylbenzene				  700		0.500		nd

1,1,1,2 Tetrachloroethane		      1		0.500		nd

m,p-Xylene						0.500		nd

o-Xylene						0.500		nd

Styrene				  100		0.500		nd

Methyl Tertiary Butyl Ether (MTBE)	    70		0.500		nd

Isopropylbenzene					0.500		nd

Bromoform						0.500		nd

1,1,2,2 Tetrachloroethane		      1		0.500		nd

1,2,3 Trichloropropane				0.500		nd

n-Propylbenzene					0.500		nd

Bromobenzene					0.500		nd

1,3,5 Trimethylbenzene				0.500		nd

_____________________________________________________________________

Page 2-2

Parameter/Method			MCL		MDL		Result

VOC/EPA 524.2			(ug/L)		(ug/L)		(ug/L)

______________________________________________________________________

Chlorotoluene-2					0.500		nd

Chlorotoluene-4					0.500		nd

tert-Butylbenzene					0.500		nd

1,2,4 Trimethylbenzene				0.500		nd

Sec-Butylbenzene					0.500		nd

p-Isopropyltoluene					0.500		nd

1,3 Dichlorobenzene			  600		0.500		nd

1,4 Dichlorobenzene			    75		0.500		nd

n-Butylbenzene					0.500		nd

1,2 Dichlorobenzene			  600		0.500		nd

1,2 Dibromo-3-Chloropropane			0.500		nd

1,2,4 Trichlorobenzene		      9		0.500		nd

Hexachlorobutadione					0.500		nd

Naphthalene				  300		0.500		nd

Hexane						0.500		nd

1,2,3 Trichlorobenzene				0.500		nd

Total Xylenes				1000		0.500		nd

______________________________________________________________________

MCL = Maximum Contaminant Level     MDL = Minimum Detection Level

nd = none detected   ug/L = ppb (parts per billion)   ** = Exceeds USEPA limits

Remarks:

If present, Chloroform, Bromodichloromethane, Dibromochloromethane and Bromoform are all commonly detected compounds found in many public water systems and private wells that use chlorine-based products for the purpose of disinfection. All four combined are referred to as Total Trihalomethanes.

Note: Report is intended to be used for informational purposes only and should not

be used for regulatory and/or legal purposes.

Report Date:	August 7, 2014

By: Thomas Mullen

Laboratory Director

Page 2-3

RE: EL-6056-0708-14         E-WATERTEST.COM

www.e-watertest.com

Pesticides/Method EPA 505		MDL (ug/L)		Result (ug/L)

______________________________________________________________________

4,4-DDD				0.500			nd

4,4-DDE				0.500			nd

4,4-DDT				0.500			nd

Alachlor				0.500			nd

Aldrin					0.500			nd

Atrazine				0.500			nd

a-BHC					0.500			nd

b-BHC					0.500			nd

a-Chlordane				0.500			nd

b-Chlordane				0.500			nd

Chlorobenzeilate			0.500			nd

Chloroneb				0.500			nd

Chlorothalonil				0.500			nd

Chlorpyrifos				0.500			nd

Cis-Permithren			0.500			nd

Cis-Nonachlor				0.500			nd

DCB					0.500			nd

DTT					0.500			nd

Dacthal				0.500			nd

Dieldrin				0.500			nd

Endosulfan I				0.500			nd

Endosulfan II				0.500			nd

Endrin					0.500			nd

Endrin Aldehyde			0.500			nd

Endrin Ketone				0.500			nd

Etriazole				0.500			nd

Heptachlor				0.500			nd

Heptachlor Epoxide			0.500			nd

Hexachlorobenzene			0.500			nd

Hexachlorocyclopentaphenol		0.500			nd

Lindane				0.500			nd

Methoxychlor				0.500			nd

Metribuzin				0.500			nd

Propachlor				0.500			nd

Simazine				0.500			nd

Tech Chlordane			0.500			nd

Toxaphene				0.500			nd

Trans Permethrin			0.500			nd

Trans-Nonachlor			0.500			nd

Triflurlin				0.500			nd

______________________________________________________________________

MDL = Minimum Detection Level    nd = none detected	ug/L = ppb (parts per billion)

Page 3

E-WATERTEST.COM

www.e-watertest.com

609-291-9072

RE: EL-6056-0708-14

PCB’s

Method EPA 505			MDL (ug/L)		Result (ug/L)

______________________________________________________________________

PCB 1061				0.050			   nd

PCB 1221				0.790			   nd

PCB 1232				0.170			   nd

PCB 1242				0.140			   nd

PCB 1248				0.089			   nd

PCB 1254				0.110			   nd

PCB 1260				0.160			   nd

PCB 1262				0.190			   nd

______________________________________________________________________

MDL = Minimum Detection Level    nd = none detected	ug/L = ppb (parts per billion)

Report Date:	August 7, 2014				By: Thomas J. Mullen

Laboratory Director

Note: Report is intended to be used for informational purposes only and should not

be used for regulatory and/or legal purposes.

Page 4